## LIVD Publication
Publisher | bioMérieux
Document Identifier | BFR0002-0351
Publication date | September 2024
Publisher URL | https://www.biofiredx.com/support/documents/#toggle-id-4
Publisher Statement | bioMerieux will ensure the accuracy of the enclosed LOINC® codes upon each bi-annual LOINC® version release, and will keep internal record of these reviews. A new version of this spreadsheet will only be released if changes to the codes have been made. The BIOFIRE® Joint Infection (JI) Panel is a multiplexed nucleic-acid-based, in vitro diagnostic test intended for use with BIOFIRE® FILMARRAY® 2.0 and BIOFIRE® FILMARRAY® Torch Systems for the simultaneous qualitative detection and identification of multiple bacterial and yeast nucleic acids and select antimicrobial resistance genes from synovial fluid obtained from individuals suspected to have a joint infection.
Legal Statement | The LOINC® codes provided are potentially representative of, but not limited to, tests performed using the BioFire® FilmArray® Panels, and are provided for illustrative purposes only. They are available from public, third-party sources. Individual laboratories are responsible for exercising independent clinical judgment in selecting the codes that most accurately reflect the procedures and tests performed. The information provided does not constitute recommendations on determining codes. LOINC® codes are complex and may be subject to change. All decisions regarding coding must be made by the laboratory or healthcare provider and should be made by referring to the current, complete, and authoritative LOINC® publication. This document makes no representations or warranties as to selecting codes for procedures, product coverage, code accuracy, or compliance with any other coding systems or prerequisites. This information cannot cover all situations or all third-party rules or policies, nor can use of the information guarantee accuracy of the testing performed.
LOINC Copyright | This material contains content from LOINC (http://loinc.org). LOINC is copyright © 1995-2024, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee and is available at no cost under the license at http://loinc.org/license. LOINC® is a registered United States trademark of Regenstrief Institute, Inc.
Localization | en-US
Region

## Release Notes
BFR0002-0351-01 Release Notes | This is the initial release of LOINC® codes for the BioFire®Joint Infection (JI) Panel v1.1.
BFR0002-0351-02 Release Notes | This is the second release of LOINC® codes for the BioFire®Joint Infection (JI) Panel v1.1. This release includes: • update to new LIVD format • added 'Equipment UID' and 'Equipment UID Type' for FilmArray 2.0 and FilmArray Torch • updated 'Publication Version ID' • updated 'Vendor Result Description' to include possible results for each analyte • added 'TestKit UID' and 'TestKit UID Type' • added 'LOINC ID Version' for each analyte

## LOINC Mapping
Vendor Equipment Mapping
Equipment |  |  |  | IVD Test Mapping
|  |  |  | IVD Test Performed | [8 empty] | LOINC
MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated
Manufacturer | Model | Equipment UID | Equipment UID Type | Publication Version ID | Vendor Analyte Code | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Vendor Reference ID | Testkit UID | Testkit UID Type | Vendor Comment | LOINC Code | LOINC Long Name | Component | Property | Time | System | Scale | Method | LOINC Version ID
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | JI | BioFire Joint Infection (JI) Panel | Synovial fluid | Ordinal |  | See UID Tab | GTIN |  | 97608-4 | Joint pathogens panel - Synovial fluid by NAA with non-probe detection | Joint pathogens panel | - | Pt | Synv fld | - | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05001 | Anaerococcus prevotii/vaginalis | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97609-2 | Anaerococcus prevotii+vaginalis DNA [Presence] in Synovial fluid by NAA with non-probe detection | Anaerococcus prevotii+vaginalis DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06001 | Bacteroides fragilis | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97610-0 | Bacteroides fragilis DNA [Presence] in Synovial fluid by NAA with non-probe detection | Bacteroides fragilis DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx07002 | Candida albicans | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97611-8 | Candida albicans DNA [Presence] in Synovial fluid by NAA with non-probe detection | Candida albicans DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx07001 | Candida | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97612-6 | Candida sp DNA [Presence] in Synovial fluid by NAA with non-probe detection | Candida sp DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06002 | Citrobacter | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97613-4 | Citrobacter sp DNA [Presence] in Synovial fluid by NAA with non-probe detection | Citrobacter sp DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05002 | Clostridium perfringens | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97614-2 | Clostridium perfringens [Presence] in Synovial fluid by NAA with non-probe detection | Clostridium perfringens | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05003 | Cutibacterium avidum/granulosum | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97615-9 | Cutibacterium avidum+granulosum DNA [Presence] in Synovial fluid by NAA with non-probe detection | Cutibacterium avidum+granulosum DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06003 | Enterobacter cloacae complex | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97616-7 | Enterobacter cloacae complex DNA [Presence] in Synovial fluid by NAA with non-probe detection | Enterobacter cloacae complex DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05004 | Enterococcus faecalis | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97617-5 | Enterococcus faecalis DNA [Presence] in Synovial fluid by NAA with non-probe detection | Enterococcus faecalis DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05005 | Enterococcus faecium | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97618-3 | Enterococcus faecium DNA [Presence] in Synovial fluid by NAA with non-probe detection | Enterococcus faecium DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06004 | Escherichia coli | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97619-1 | Escherichia coli DNA [Presence] in Synovial fluid by NAA with non-probe detection | Escherichia coli DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05006 | Finegoldia magna | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97620-9 | Finegoldia magna DNA [Presence] in Synovial fluid by NAA with non-probe detection | Finegoldia magna DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06005 | Haemophilus influenzae | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97621-7 | Haemophilus influenzae DNA [Presence] in Synovial fluid by NAA with non-probe detection | Haemophilus influenzae DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06006 | Kingella kingae | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97622-5 | Kingella kingae DNA [Presence] in Synovial fluid by NAA with non-probe detection | Kingella kingae DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06007 | Klebsiella aerogenes | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97623-3 | Klebsiella aerogenes DNA [Presence] in Synovial fluid by NAA with non-probe detection | Klebsiella aerogenes DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06008 | Klebsiella pneumoniae group | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97624-1 | Klebsiella pneumoniae+Klebsiella variicola+Klebsiella quasipneumoniae DNA [Presence] in Synovial fluid by NAA with non-probe detection | Klebsiella pneumoniae+Klebsiella variicola+Klebsiella quasipneumoniae DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06009 | Morganella morganii | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97625-8 | Morganella morganii DNA [Presence] in Synovial fluid by NAA with non-probe detection | Morganella morganii DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06010 | Neisseria gonorrhoeae | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97626-6 | Neisseria gonorrhoeae DNA [Presence] in Synovial fluid by NAA with non-probe detection | Neisseria gonorrhoeae DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05007 | Parvimonas micra | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97627-4 | Parvimonas micra DNA [Presence] in Synovial fluid by NAA with non-probe detection | Parvimonas micra DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05008 | Peptoniphilus | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97628-2 | Peptoniphilus sp DNA [Presence] in Synovial fluid by NAA with non-probe detection | Peptoniphilus sp DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05009 | Peptostreptococcus anaerobius | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97629-0 | Peptostreptococcus anaerobius DNA [Presence] in Synovial fluid by NAA with non-probe detection | Peptostreptococcus anaerobius DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06011 | Proteus spp. | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97630-8 | Proteus sp DNA [Presence] in Synovial fluid by NAA with non-probe detection | Proteus sp DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06012 | Pseudomonas aeruginosa | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97631-6 | Pseudomonas aeruginosa DNA [Presence] in Synovial fluid by NAA with non-probe detection | Pseudomonas aeruginosa DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06013 | Salmonella spp. | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97632-4 | Salmonella sp DNA [Presence] in Synovial fluid by NAA with non-probe detection | Salmonella sp DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx06014 | Serratia marcescens | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97633-2 | Serratia marcescens DNA [Presence] in Synovial fluid by NAA with non-probe detection | Serratia marcescens DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05010 | Staphylococcus aureus | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97634-0 | Staphylococcus aureus DNA [Presence] in Synovial fluid by NAA with non-probe detection | Staphylococcus aureus DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05011 | Staphylococcus lugdunensis | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97635-7 | Staphylococcus lugdunensis DNA [Presence] in Synovial fluid by NAA with non-probe detection | Staphylococcus lugdunensis DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05013 | Streptococcus agalactiae | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97636-5 | Streptococcus agalactiae DNA [Presence] in Synovial fluid by NAA with non-probe detection | Streptococcus agalactiae DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05014 | Streptococcus pneumoniae | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97637-3 | Streptococcus pneumoniae DNA [Presence] in Synovial fluid by NAA with non-probe detection | Streptococcus pneumoniae DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05015 | Streptococcus pyogenes | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97638-1 | Streptococcus pyogenes DNA [Presence] in Synovial fluid by NAA with non-probe detection | Streptococcus pyogenes DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx05012 | Streptococcus spp. | Synovial fluid | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97639-9 | Streptococcus sp DNA [Presence] in Synovial fluid by NAA with non-probe detection | Streptococcus sp DNA | PrThr | Pt | Synv fld | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx08001 | CTX-M | Synovial fluid | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 88250-6 | Cephalosporin resistance blaCTX-M gene [Presence] by Molecular method | Bacterial cephalosporin resistance blaCTX-M gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx08002 | IMP | Synovial fluid | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 85498-4 | Carbapenem resistance blaIMP gene [Presence] by Molecular method | Bacterial carbapenem resistance blaIMP gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx08003 | KPC | Synovial fluid | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 49617-4 | Carbapenem resistance blaKPC gene [Presence] by Molecular method | Bacterial carbapenem resistance blaKPC gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx08004 | mecA/C and MREJ (MRSA) | Synovial fluid | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 96309-0 | Methicillin resistance mecA+mecC genes+SCCmec+OrfX junction [Presence] by Molecular method | Bacterial methicillin resistance mecA+mecC genes+SCCmec+OrfX junction | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx08005 | NDM | Synovial fluid | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 73982-1 | Carbapenem resistance blaNDM gene [Presence] by Molecular method | Bacterial carbapenem resistance blaNDM gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx08006 | OXA-48-like | Synovial fluid | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 85827-4 | Carbapenem resistance bla OXA-48-like gene [Presence] by Molecular method | Bacterial carbapenem resistance blaOXA-48-like gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.67
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx08007 | vanA/B | Synovial fluid | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 62261-3 | Vancomycin resistance vanA + vanB genes [Presence] by Molecular method | Bacterial vancomycin resistance vanA+vanB genes | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | BJIx08008 | VIM | Synovial fluid | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 85501-5 | Carbapenem resistance blaVIM gene [Presence] by Molecular method | Bacterial carbapenem resistance blaVIM gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73

## UID
Model | Equipment UID
FILMARRAY 2.0 INSTRUMENT | 00815381020031
FILMARRAY 2.0 INSTRUMENT (W) | 00815381029058
FILMARRAY TORCH SYSTEM BASE | 00815381020253
FILMARRAY TORCH SYSTEM BASE (W) | 00815381029096
FILMARRAY TORCH INSTRUMENT MODULE | 00815381020277
FILMARRAY TORCH MODULE BOX (W) | 00815381029089
Panel | Testkit UID
BIOFIRE JI PANEL, 30 TESTS | 00815381020192