## LIVD Publication
Publisher | bioMérieux
Document Identifier | BFR0003-9063
Publication Date | March 2025
Publisher URL | https://www.biomerieux.com/corp/en/service-and-support/support/BioFire-System-Documents.html
Publisher Statement | bioMérieux will ensure the accuracy of the enclosed LOINC® codes upon each bi-annual LOINC® version release, and will keep internal record of these reviews. A new version of this spreadsheet will only be released if changes to the codes have been made. The BIOFIRE® FILMARRAY® Gastrointestinal (GI) Panel Mid is an automated qualitative multiplexed nucleic acid-based in vitro diagnostic test intended for use with BIOFIRE® FILMARRAY® Systems. The BIOFIRE FILMARRAY GI Panel Mid is capable of the simultaneous detection and identification of nucleic acids from multiple bacteria, viruses, and parasites directly from stool samples in Cary Blair transport media obtained from individuals with signs and/or symptoms of gastrointestinal infection.
Legal Statement | The LOINC® codes provided are potentially representative of, but not limited to, tests performed using the BioFire® FilmArray® Panels, and are provided for illustrative purposes only. They are available from public, third-party sources. Individual laboratories are responsible for exercising independent clinical judgment in selecting the codes that most accurately reflect the procedures and tests performed. The information provided does not constitute recommendations on determining codes. LOINC® codes are complex and may be subject to change. All decisions regarding coding must be made by the laboratory or healthcare provider and should be made by referring to the current, complete, and authoritative LOINC® publication. This document makes no representations or warranties as to selecting codes for procedures, product coverage, code accuracy, or compliance with any other coding systems or prerequisites. This information cannot cover all situations or all third-party rules or policies, nor can use of the information guarantee accuracy of the testing performed.
LOINC Copyright | This material contains content from LOINC (http://loinc.org). LOINC is copyright © 1995-2025, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee and is available at no cost under the license at http://loinc.org/license. LOINC® is a registered United States trademark of Regenstrief Institute, Inc.
Localization | en-US
Region

## Release Notes
BFR0003-0963-01 Release Notes | This is the first release of LOINC® codes for the BIOFIRE® FILMARRAY® Gastrointestinal Panel Mid (GI Mid) v2.1

## LOINC Mapping
Vendor Equipment Mapping
Equipment |  |  |  | IVD Test Mapping
|  |  |  | IVD Test Performed | [8 empty] | LOINC
MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated
Manufacturer | Model | Equipment UID | Equipment UID Type | Publication Version ID | Vendor Analyte Code | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Vendor Reference ID | Testkit UID | Testkit UID Type | Vendor Comment | LOINC Code | LOINC Long Name | Component | Property | Time | System | Scale | Method | LOINC Version ID
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMID | GI Panel Mid | Stool in Cary Blair transport media | Ordinal |  | See UID Tab | GTIN |  | 82195-9 | Gastrointestinal pathogens DNA and RNA panel - Stool by NAA with non-probe detection | Gastrointestinal pathogens DNA & RNA panel | - | Pt | Stool | - | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx01001 | Norovirus GI/GII | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82211-4 | Norovirus genogroup I+II RNA [Presence] in Stool by NAA with non-probe detection | Norovirus genogroup I+II RNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx02001 | Campylobacter (C. jejuni/C. coli/C. upsaliensis) | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82196-7 | Campylobacter coli+jejuni+upsaliensis DNA [Presence] in Stool by NAA with non-probe detection | Campylobacter coli+jejuni+upsaliensis DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx02002 | Clostridioides (Clostridium) difficile (toxin A/B) | Stool in Cary Blair transport media | Ordinal* Not Detected, Detected |  | See UID Tab | GTIN | *May not be reported if C.diff is toggled to "Not Report" in BioFire software. | 82197-5 | Clostridioides difficile toxin A+B tcdA+tcdB genes [Presence] in Stool by NAA with non-probe detection | Clostridioides difficile toxin A+B tcdA+tcdB genes | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx02003 | Salmonella | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82199-1 | Salmonella enterica+bongori DNA [Presence] in Stool by NAA with non-probe detection | Salmonella enterica+bongori DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx02004 | Shiga-like toxin-producing E. coli (STEC) stx1/stx2 | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82203-1 | Escherichia coli Stx1 and Stx2 toxin stx1+stx2 genes [Presence] in Stool by NAA with non-probe detection | Escherichia coli Stx1+Stx2 toxin stx1+stx2 genes | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx02005 | Shigella/Enteroinvasive E. coli (EIEC) | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 80350-2 | Shigella species+EIEC invasion plasmid antigen H ipaH gene [Presence] in Stool by NAA with non-probe detection | Shigella species+EIEC invasion plasmid antigen H (ipaH) gene | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx02006 | Vibrio (V. parahaemolyticus/V. vulnificus/V. cholerae) | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82200-7 | Vibrio cholerae+parahaemolyticus+vulnificus DNA [Presence] in Stool by NAA with non-probe detection | Vibrio cholerae+parahaemolyticus+vulnificus DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx02007 | Yersinia enterocolitica | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82202-3 | Yersinia enterocolitica DNA [Presence] in Stool by NAA with non-probe detection | Yersinia enterocolitica DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx04001 | Cryptosporidium | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82205-6 | Cryptosporidium sp DNA [Presence] in Stool by NAA with non-probe detection | Cryptosporidium sp DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx04002 | Cyclospora cayetanensis | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82206-4 | Cyclospora cayetanensis DNA [Presence] in Stool by NAA with non-probe detection | Cyclospora cayetanensis DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 01 | GIMx04003 | Giardia lamblia | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82208-0 | Giardia lamblia DNA [Presence] in Stool by NAA with non-probe detection | Giardia lamblia DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73

## UID
Model | Equipment UID
FILMARRAY 2.0 INSTRUMENT | 00815381020031
FILMARRAY 2.0 INSTRUMENT (W) | 00815381029058
FILMARRAY TORCH SYSTEM BASE | 00815381020253
FILMARRAY TORCH SYSTEM BASE (W) | 00815381029096
FILMARRAY TORCH INSTRUMENT MODULE | 00815381020277
FILMARRAY TORCH MODULE BOX (W) | 00815381029089
Panel | Testkit UID
BIOFIRE® FILMARRAY® Gastrointestinal (GI) Panel Mid, 6 TESTS IVD | 00815381020963
BIOFIRE® FILMARRAY® Gastrointestinal (GI) Panel Mid, 30 TESTS IVD | 00815381020888